[image: image1.png]WOVkJHg_fOV"’OV





	

	Your ref: 


Please Reply To: Senior Information Governance Officer

T 01924 306112

E:  freedomofinformation@wakegield.gov.uk
Date: 21 August 2026


	

	

	

	

	

	


Transformation Directorate

Service Director: Emma Marshall
Wakefield One 

Burton St 

Wakefield 

WF1 3EB

Typetalk calls welcome

Contact: Senior Information Governance Officer

T 01924 306112

E: freedomofinformation@wakegield.gov.uk:

Typetalk calls welcome
From a textphone dial: 18001 0345 8 503 503
From a telephone dial: 18002 0345 8 503 503
                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                   Dear Requester,

Environmental Information Regulations 2004 - Request for Information
REF: EIR 846
I am writing in respect of your enquiry for information held by the Authority, which has been processed under the provisions of the above Regulations. Please note that, as previously advised, the EIR legislation is relevant, as your request relates to issues which affect the environment.

Please find the response to your request below. 

 In respect of the provided photographs of eyebolt heights, please confirm the starting point of the tape measure, i.e., whether they were taken from the ground level. In addition, please confirm the dates of the photographs. Please also confirm whether all photographs relate to the Property in question, 6 and 6a Market Place, Normanton, WF6 2AU.

Wakefield Council can confirm that the starting point of the tape measure was ground level. We are not able to provide an accurate date or time for when the photographs were taken. 

 

In respect of the provided document titled “Stress Test 2024”, please provide further information as to what the stress tests involved. In particular, please could you clarify:

 

· What methodologies and procedures were used?

The stress test undertaken on the eyebolts is essentially a controlled inspection which confirms that the eyebolts, associated fixtures, and the structured in which they’re attached can safely sustain and withstand the loads they’ll experience. 
It would typically involve applying a specified and measured load onto the eyebolts, with a calibrated weight and a pull device. The load used for the inspection is heavier than what would be fixed, in this instance Christmas Lights, to ensure that the known load can be safely applied. 
· What equipment was used?

A calibrated weight and pull device which has given a Newton rating
· The duration of the tests on Market Place;

We do not hold the information requested. Typically, each eyebolt is tested for between 1 – 3 minutes, or enough time for the engineer to confirm that there is no movement, no deterioration to the structure etc..
· The load, pressure and other parameters evaluated during the tests;

We do not hold the information requested
· Criteria for establishing whether a stress test is a pass or a fail.

The inspection is considered a pass should the eyebolt remain firmly installed, no visible sign of deterioration to the structure, no loose components etc… The engineers who undertake the stress test are suitably competent to determine the inspection a pass or a fail. 

Furthermore, in respect of the provided document titled “Stress Test 2024”, please confirm whether reference to a “beauty shop” on “Normanton Market Place” (job number 043062 and 043215/18) is a reference to the Property in question, 6 and 6a Market Place, Normanton, WF6 2AU. If affirmative, please provide the dates on which these two tests took place.

We are not able to confirm a specific date on when these inspections were undertaken. We can confirm that these inspections were undertaken in August/September as per the installation programme.

Lastly, please provide details of the contractor responsible for installation and maintenance of the Christmas lights.  

RFM (Robertson Facilities Management) are responsible for the installation and maintenance of the Christmas Lights. 

I trust that this information is satisfactory for your purposes.

If you are not satisfied with the way the Authority has handled your request, you may ask for an internal review. Please contact:

Senior Information Governance Officer
Corporate Information Governance Team
County Hall
Wakefield
West Yorkshire
WF1 2QW

Or email: freedomofinformation@wakefield.gov.uk
Yours Sincerely,

Senior Information Governance Officer  

Information Governance Team, 

Wakefield Council 

E-mail: freedomofInformation@wakefield.gov.uk 

Tel: 01924 306112 

[image: image2.png]WOVkJHg_fOV"’OV




[image: image1.png]

[image: image2.png][image: image3.jpg]www.wakefield.gov.uk

v/akefieldcouncil



